# C11, C12, C13 TOXICOLOGY October 2026

# 1.0	Sample Reception

1.1	All breakages and shortages must be reported within 24 hours of sample receipt.

1.2	Samples should be stored in the dark at 4+2°C upon receipt.  Samples are stable for the duration of the study.

1.3	Check that all the parameters for which you are registered are correctly identified in the PTC portal.

1.4	Inquiries regarding samples and their shipment may be directed to:

PT Non-conformances

Information and Quality Management

Environment and Climate Change Canada

fax: 905-336-8914

email: ec.ptnc.ec@canada.ca

cc: PT Canada Program Officer

email: programofficer@PTcanada.org

cc: Nadine Lewis, PTC Executive Director

email: nlewis@PTcanada.org

Inquiries should be made by email.  When reporting damage upon receipt, please provide a picture of the damaged samples. Please include your PT Canada laboratory number on all correspondence.

# 2.0	Sample Analysis

2.1	The reference toxicants have been prepared using the following toxicants:

Trout LC50 (96 h) and microtox IC50 (15 min) – phenol.

Daphnia LC50 (48 h) - sodium chloride.

2.2	The highest concentration (ml of sample added per liter of test solution) and applied dilution factor for each sample should be as shown.

2.3	For each sample prepare at least five (5) test solutions in a geometric series using the dilution factor shown below.

| Parameter | ID | Highest Conc. (mL/L) | Dilution Factor |
| --- | --- | --- | --- |
| Trout LC50 (96 h) | C11-1 | 10 | 0.5 |
|  | C11-2 | 12 | 0.5 |
|  | C11-3 | 9 | 0.5 |
|  | C11-4 | 8 | 0.5 |
| Daphnia LC50 (48 h) | C12-1 | 60 | 0.7 |
|  | C12-2 | 150 | 0.7 |
|  | C12-3 | 160 | 0.7 |
|  | C12-4 | 90 | 0.7 |
| Microtox IC50 (15 min) | C13-1 | 60 | 0.5 |
|  | C13-2 | 20 | 0.5 |
|  | C13-3 | 30 | 0.5 |
|  | C13-4 | 50 | 0.5 |

2.5	For Microtox, the top concentration is prepared in a volumetric flask with dilution water (i.e. deionized water).  This solution is then pipetted into the cuvettes as the samples are diluted with the appropriate diluent using a 0.5 dilution factor, as per standard test procedure.

2.6	Use volumetric labware and laboratory dilution water to prepare the dilution series for Daphnia and rainbow trout.

2.7	Proceed with testing using the routine analytical method identified in your recent application to the PTC program.

2.8	For trout and daphnia, calculate the results using the preferred statistical method for the data as determined by following the flowsheet in Figure 4 of the Environment Canada test method EPS 1/RM/46.  For microtox calculate the IC50 using the Microbics computer program.

# 3.0	Reporting Results

3.1	Report data in the PTC portal using the units indicated.

# 4.0	Safety

4.1	The PT samples are designed for use by laboratory professionals familiar with environmental samples and potentially hazardous materials.