# C50 PFAS IN WATER

# 1.0	Sample Reception

1.1	All breakages and shortages must be reported within 24 hours of sample receipt.

1.2	Store samples at 4+2°C upon receipt.

1.3	Check that all the parameters for which you are registered are correctly identified in the PTC portal.

1.4	Inquiries regarding samples and their shipment may be directed to:

PT Non-conformances

Phenova

Tel: (303) 940-0033

Email: AndreaLg@phenova.com

cc: PT Canada Program Officer

email: programofficer@PTcanada.org

cc: Nadine Lewis, PTC Executive Director

email: nlewis@PTcanada.org

Inquiries should be made by email.  When reporting damage upon receipt, please provide a picture of the damaged samples. Please include your PT Canada laboratory number on all correspondence.

# 2.0	Sample Analysis

2.1	Refer to the PTC Catalogue for approximate sample concentrations.

2.2	Each sample contains random selection percentage of analytes with at least 60% of the PFAS analytes in each sample.  All analytes are covered per PT Study. Please see the list of PFAS analytes.

2.3 	Proceed with testing using the routine analytical method identified in your PT Canada application.

# 3.0	Reporting Results

3.1	Results must be reported by midnight of the study deadline in the PTC portal.

3.2	Report RDL (optional) if you want RDL accounted for in z scores.

# 4.0	Safety

4.1	The PT samples are designed for use by laboratory professionals familiar with environmental samples and potentially hazardous materials.

PFAS, EPA 1633 Analyte List (40 Analytes)

| Analyte Description | CAS Number |
| --- | --- |
| Perfluorobutanoic acid (PFBA) | 375-22-4 |
| Perfluoropentanoic acid (PFPeA) | 2706-90-3 |
| Perfluorohexanoic acid (PFHxA) | 307-24-4 |
| Perfluoroheptanoic acid (PFHpA) | 375-85-9 |
| Perfluorooctanoic acid (PFOA) | 335-67-1 |
| Perfluorononanoic acid (PFNA) | 375-95-1 |
| Perfluorodecanoic acid (PFDA) | 335-76-2 |
| Perfluoroundecanoic acid (PFUnA) | 2058-94-8 |
| Perfluorododecanoic acid (PFDoA) | 307-55-1 |
| Perfluorotridecanoic acid (PFTriA) | 72629-94-8 |
| Perfluorotetradecanoic acid (PFTeA) | 376-06-7 |
| Perfluorobutanesulfonic acid (PFBS) | 375-73-5 |
| Perfluoropentanesulfonic acid (PFPeS) | 2706-91-4 |
| Perfluorohexanesulfonic acid (PFHxS) | 355-46-4 |
| Perfluoroheptanesulfonic Acid (PFHpS) | 375-92-8 |
| Perfluorooctanesulfonic acid (PFOS) | 1763-23-1 |
| Perfluorononanesulfonic acid (PFNS) | 68259-12-1 |
| Perfluorodecanesulfonic acid (PFDS) | 335-77-3 |
| Perfluorododecanesulfonic acid (PFDoS) | 79780-39-5 |
| Perfluorooctanesulfonamide (FOSA) | 754-91-6 |
| NMeFOSAA | 2355-31-9 |

| NEtFOSAA | 2991-50-6 |
| --- | --- |
| 4:2 FTS | 757124-72-4 |
| 6:2 FTS | 27619-97-2 |
| 8:2 FTS | 39108-34-4 |
| NEtFOSA | 4151-50-2 |
| NMeFOSA | 31506-32-8 |
| NMeFOSE | 24448-09-7 |
| NEtFOSE | 1691-99-2 |
| 9Cl-PF3ONS | 756426-58-1 |
| HFPO-DA (GenX) | 13252-13-6 |
| 11Cl-PF3OUdS | 763051-92-9 |
| ADONA | 919005-14-4 |
| 3:3 FTCA | 356-02-5 |
| 5:3 FTCA | 914637-49-3 |
| 7:3 FTCA | 812-70-4 |
| NFDHA | 151772-58-6 |
| PFMBA | 863090-89-5 |
| PFMPA | 377-73-1 |
| PFEESA | 113507-82-7 |